## Sheet1
State | In this state, collar will: | Instruction | Complete When | Fails out if (collar beeps/vibes twice and returns to normal) | Collar Status Report (BLE)
GPS_METRIC_CALIBRATION_OFF | Act normally | Plug Halo into power; then press ON button twice to begin... | ON pressed twice while plugged in
GPS_METRIC_CALIBRATION_WAIT_UNPLUG | Beep/vibe once; then blink GPS LED red 1 sec on/1 sec off | Unplug Halo from power to continue | Halo is unplugged | 3 minutes pass without unplugging | Pass = null; Fail = Duration of wait (% duration out of 180)
GPS_METRIC_CALIBRATION_PRE_INDOOR_START | Blink Logo LED red - short blink while idle; long while moving | Walk around for 1 minute indoors; make sure that Halo is moving (note long blinks) | 1 minute of motion indoors | 2 minutes pass without 1 min motion | Pass = Duration of motion (% of motion out of 60 secs); Fail = % of idle (out of 60 seconds)
GPS_METRIC_CALIBRATION_PRE_INDOOR | Blink Logo LED red - short blink while idle; long while moving | Walk around for 1 minute indoors; make sure that Halo is moving (note long blinks) | 1 minute of motion indoors | 2 minutes pass without 1 min motion | Pass = Duration of motion (% of motion out of 60 secs); Fail = % of idle (out of 60 seconds)
GPS_METRIC_CALIBRATION_OUTDOOR_WAIT | Beep every second and blink Logo LED yellow + 200 ms vibration per 1 sec | Now walk outside and wait for Halo logo to turn Green; press ON button once when you are in a good outdoor location | Outdoors (green LED) and customer presses ON key | 3 minutes pass with no button press | Pass = 0 = indoor, 1 = outdoor; Fail = Duration of wait (% duration out of 180)
GPS_METRIC_CALIBRATION_OUTDOOR_BUTTON_PRESS_CLEAR | Beep every second and blink Logo LED yellow + 200 ms vibration per 1 sec | Now walk outside and wait for Halo logo to turn Green; press ON button once when you are in a good outdoor location | Outdoors (green LED) and customer presses ON key | 3 minutes pass with no button press | Pass = 0 = indoor, 1 = outdoor; Fail = Duration of wait (% duration out of 180)
GPS_METRIC_CALIBRATION_OUTDOOR_BUTTON_PRESS_WAIT | Beep every second and blink Logo LED yellow + 200 ms vibration per 1 sec | Now walk outside and wait for Halo logo to turn Green; press ON button once when you are in a good outdoor location | Outdoors (green LED) and customer presses ON key | 3 minutes pass with no button press | Pass = 0 = indoor, 1 = outdoor; Fail = Duration of wait (% duration out of 180)
GPS_METRIC_CALIBRATION_OUTDOOR_START | Stop beeping; Blink logo LED green - short while idle; long while moving | Now walk around outdoors for 2 minutes where your dog likes to go | 2 minutes of motion outdoors | 4 minutes pass without 2 mins motion | Pass = Duration of motion (% of motion out of 120 secs); Fail = % of idle (out of 120 seconds)
GPS_METRIC_CALIBRATION_OUTDOOR | Stop beeping; Blink logo LED green - short while idle; long while moving | Now walk around outdoors for 2 minutes where your dog likes to go | 2 minutes of motion outdoors | 4 minutes pass without 2 mins motion | Pass = Duration of motion (% of motion out of 120 secs); Fail = % of idle (out of 120 seconds)
GPS_METRIC_CALIBRATION_INDOOR_WAIT | Beep every second and blink Logo LED yellow + 200 ms vibration per 1 sec | Now go back inside, wait for Halo logo to turn Red; press ON once when you are in a typical indoor location | Outdoors (green LED) and customer press ON key | 3 minutes pass with no button press | Pass = 0 = outdor, 1 = indoor; Fail = Duration of wait (% duration out of 180)
GPS_METRIC_CALIBRATION_INDOOR_BUTTON_PRESS_CLEAR | Beep every second and blink Logo LED yellow + 200 ms vibration per 1 sec | Now go back inside, wait for Halo logo to turn Red; press ON once when you are in a typical indoor location | Outdoors (green LED) and customer press ON key | 3 minutes pass with no button press | Pass = 0 = outdor, 1 = indoor; Fail = Duration of wait (% duration out of 180)
GPS_METRIC_CALIBRATION_INDOOR_BUTTON_PRESS_WAIT | Beep every second and blink Logo LED yellow + 200 ms vibration per 1 sec | Now go back inside, wait for Halo logo to turn Red; press ON once when you are in a typical indoor location | Outdoors (green LED) and customer press ON key | 3 minutes pass with no button press | Pass = 0 = outdor, 1 = indoor; Fail = Duration of wait (% duration out of 180)
GPS_METRIC_CALIBRATION_INDOOR_START | No beep; Logo LED blinks red - short while idle; long while moving | Walk around for 2 minutes indoors where your dog likes to go; make sure that Halo is moving (long blinks) | 2 minutes of motion indoors; long beep; logo LED returns to normal + 2000 ms vibration | 4 minutes pass without 2 mins motion | Pass = Duration of motion (% of motion out of 120 secs); Fail = % of idle (out of 120 seconds)
GPS_METRIC_CALIBRATION_INDOOR | No beep; Logo LED blinks red - short while idle; long while moving | Walk around for 2 minutes indoors where your dog likes to go; make sure that Halo is moving (long blinks) | 2 minutes of motion indoors; long beep; logo LED returns to normal + 2000 ms vibration | 4 minutes pass without 2 mins motion | Pass = Duration of motion (% of motion out of 120 secs); Fail = % of idle (out of 120 seconds)